VEXO S-BMS 322 Smart Building Management System

- General

  - Product Name: S-BMS Remote Monitoring and Control Panel

  - Description: A compact and versatile remote monitoring and control panel designed for small to medium sized plant equipment applications. The S-BMS provides real-time data monitoring, remote control, and alarm management capabilities.

  - Manufacturer: VEXO International UK Ltd

  - Model Number: V-SBMS322

  - Revision: 1.0

  - Date: February 2025

- Functionality

  - Remote Access: Control and monitor the system from anywhere with an internet connection.

  - Time Scheduling:

    - Event-Based Scheduling: Trigger actions based on specific events, such as alarms, sensor values, or time of day.

    - Time-Based Scheduling: Schedule tasks to occur at specific times or intervals.

    - Calendar-Based Scheduling: Create recurring schedules based on calendars or holidays.

  - Setpoints:

    - Configurable setpoints: Define desired values for various parameters, such as temperature, pressure, flowrate, or power consumption.

    - Alarm Triggers: Set high and low alarm limits for setpoints to monitor deviations and initiate appropriate actions.

    - Automatic Adjustments: Automatically adjust setpoints based on predefined rules or feedback from sensors.

  - Parameters:

    - Real-Time Monitoring: Measure energy consumption and identify areas for energy efficiency improvements.

    - Data Logging: Store historical data for analysis and reporting.

    - Trend Analysis: Identify trends and patterns in data to optimize operations and predict future performance.

  - Energy Metering: measure energy consumption and identify areas for energy efficiency improvements via RS485 input.

  - Communication

    - 4G: Provides wireless broadband connectivity to the cloud platform, allowing access to control panel data.

    - Modbus: Provides a simple, reliable, and cost effective way for various physical devices within the network to communicate and exchange data.

    - LoRaWAN: Offers a network for low-power devices to transmit data over long distances, wirelessly to a centralized gateway and network.

    - BACnet: Standardized framework for various devices to communicate and exchange data within a building, enabling efficient control and management of various systems.

  - Security: Robust security measures to protect sensitive data and prevent unauthorized access.

  - Remote Access Levels: Different access levels available to users depending on their roles and responsibilities.

- Hardware Overview

  - Enclosure: complies to BS EN 60947 and BS EN 61439.

    - Dimensions: H: 900 W: 700 D: 350 (mm)

      - Diagram:

    - Weight: 45 KG

  - Internal Components

    - Overview

      - Diagram:

    - Components

      - MCB:

        - MCB1: 230V / 6A Circuit Breaker

        - MCB2: 230V / 2A Circuit Breaker

      - Relays:

        - R1-7: 24VDC, 10A, 230V, 1CO Schnieder RXG12BD w/led + button

        - R21-23: 24VDC, 5A, 230V, 2CO Schnieder RXG23BD w/led

      - Power Supply Modules:

        - PSU1: 24VDC 2.5A DIN RAIL PSU

        - PSU2: 24VDC 2.5A DIN RAIL PSU

        - PSU3: 48VDC 1.25A DIN RAIL PSU

      - Controller: S-BMS X729

      - Router: Robustel R3000-LG4LA

      - Antenna: Dual 4G/Lora Antenna (2JW0124-C868B _SOLRE)

      - Port Switch: TL-SF1005P

      - ISMA I/O Module:

        - IO38: ISMA-B-MIX38

  - I/O Point Schedule

- Dashboard / Operation

  - Sample Graphics

    - Site Dashboard

    - Plantroom - Boiler Monitoring & Control

    - Plantroom - Circuit Monitoring & Control

    - Times – Schedules

    - Energy Metering

    - Alarm Notifications

- Commissioning

  - Pre-Configuration: Preferred temperatures, scheduling and operational requirements are pre-set into the panel prior to dispatch.

  - Remote Setup: Instead of a technician wiring everything together, the BMS is set up remotely. A technician can access the system from a computer or tablet and make sure all the components are configured correctly and communicating with each other.

  - On-Site Assistance: Even though the setup is done remotely, there’s a requirement for either the electrical or mechanical installer to support with the following:

    - Ensure all the sensors, actuators, and other hardware are physically installed correctly.

    - Check that the BMS is connect to the building network where necessary.

    - Troubleshoot any issues that might arise during the setup process.